## BusinessRules Nozzles
Notes | Expression | SelectionOnly | RuleType | ShortName | EnglishUS | French | German | Spanish | Russian
Beta low stop ISA 1932 | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N2') | FALSE | 4 | Beta value must be no less than 0.3
Beta high stop ISA 1932 | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N2') | FALSE | 4 | Beta value must be no more than 0.8
Reynolds @ meter max ISA 1932 | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N2') | FALSE | 2 | Pipe Reynolds number must be between 70000 and 107 for Beta Ratio of 0.30 to 0.44
Reynolds @ meter max ISA 1932 | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N2') | FALSE | 2 | Pipe Reynolds number must be between 20000 and 10^7 for Beta Ratio of 0.44 to 0.80
Reynolds @ meter normal ISA 1932 | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N2') | FALSE | 2 | Pipe Reynolds number must be between 70000 and 107 for Beta Ratio of 0.30 to 0.44
Reynolds @ meter normal ISA 1932 | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N2') | FALSE | 2 | Pipe Reynolds number must be between 20000 and 10^7 for Beta Ratio of 0.44 to 0.80
Pipe bore too Big ISA 1932 | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N2') | FALSE | 2 | Pipe Bore too large - must be no more than 500mm
Pipe bore too Small ISA 1932 | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N2') | FALSE | 2 | Pipe Bore too small - must be no less than 50mm
Beta low stop Long Radius Nozzle | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N3') | FALSE | 4 | Beta value must be no less than 0.2
Beta high stop Long Radius Nozzle | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N3') | FALSE | 4 | Beta value must be no more than 0.8
Reynolds @ meter max Long Radius Nozzle | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N3') | FALSE | 2 | Pipe Reynolds number must be between 10000 and 107
Reynolds @ normal Long Radius Nozzle | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N3') | FALSE | 2 | Pipe Reynolds number must be between 10000 and 107
Pipe bore too Big Long Radius Nozzle | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N3') | FALSE | 2 | Pipe Bore too large - must be no more than 630mm
Pipe bore too Small Long Radius Nozzle | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N3') | FALSE | 2 | Pipe Bore too small - must be no less than 50mm
Beta low stop ASME MF3CM | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N4') | FALSE | 4 | Beta value must be no less than 0.25
Beta high stop ASME MF3CM | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N4') | FALSE | 4 | Beta value must be no more than 0.5
Reynolds @ meter max ASME MF3CM | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N4') | FALSE | 2 | Pipe Reynolds number must be between 10000 and 6x106
Reynolds @ normal ASME MF3CM | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N4') | FALSE | 2 | Pipe Reynolds number must be between 10000 and 6x106
Pipe bore too Big ASME MF3CM | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N4') | FALSE | 2 | Pipe Bore too large - must be no more than 750mm
Pipe bore too Small ASME MF3CM | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N4') | FALSE | 2 | Pipe Bore too small - must be no less than 100mm
Beta low stop PTC 6 Throat Tap | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N1') | FALSE | 4 | Beta value must be no less than 0.25
Beta high stop PTC 6 Throat Tap | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N1') | FALSE | 4 | Beta value must be no more than 0.50
Reynolds @ meter max PTC 6 Throat Tap | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N1') | FALSE | 2 | Pipe Reynolds number must be between 10000 and 5x106
Reynolds @ normal PTC 6 Throat Tap | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N1') | FALSE | 2 | Pipe Reynolds number must be between 10000 and 5x106
Pipe bore too Big PTC 6 Throat Tap | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N1') | FALSE | 2 | Pipe Bore too large - must be no more than 700mm
Pipe bore too Small PTC 6 Throat Tap | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N1') | FALSE | 2 | Pipe Bore too small - must be no less than 100mm
Beta low stop Venturi Nozzle | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N5') | FALSE | 4 | Beta value must be no less than 0.316
Beta high stop Venturi Nozzle | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N5') | FALSE | 4 | Beta value must be no more than 0.0.775
Reynolds @ meter max Venturi Nozzle | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N5') | FALSE | 2 | Pipe Reynolds number must be between 10000 and 2x106
Reynolds @ normal Venturi Nozzle | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N5') | FALSE | 2 | Pipe Reynolds number must be between 10000 and 2x106
Pipe bore too Big Venturi Nozzle | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N5') | FALSE | 2 | Pipe Bore too large - must be no more than 500mm
Pipe bore too Small Venturi Nozzle | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N5') | FALSE | 2 | Pipe Bore too small - must be no less than 65mm
Throat "d" Bore Venturi Nozzle | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N5') | FALSE | 2 | ISO5167 specifies that Bore "d" must be no less than 50mm for a Venturi Nozzle
Expansability Check p2/p1 | ([SelectedItem]{CH/FPD/PRODUCT/DES}='N2','N3' | FALSE | 2 | p2/p1 must be no less than 0.75 - "Expansion Factor E" calculation is only valid if p2/p1 does not exceed 0.75